## Transmission Table
Plan Number
Development Plans Studies by MH that include Conawapa G. S.
7 | Plans | Economic Value of Development Plan compared to Plan 1 All Gas - CPV/NPV at the end of specific portions of the Study Period 20 years 35 years 50 years 78 years |  |  |  | Transmision Exposure*
8 | [5 empty] | Option 1 Impact | Option 2 Impact
9 | 7 SCGT/C26 | -2508.1298 | -686.132 | 178.0825 | 738.254 | No impact | No impact
10 | 8 CCGT/C26 | -2633.374 | -716.4123 | 174.2312 | 783.6164 | No impact | No impact
11 | 9 Wind/C26 | -2776.8314 | -1031.4906 | -62.0831 | 530.8526 | No impact | No impact
12 | 10 K22/C29 | -4247.1326 | -1501.4176 | -111.6034 | 805.9195 | -452.28 | -327.83
13 | 11 K19/C31/250MW | -4041.2787 | -1087.0149 | 263.6887 | 1215.1073 | -409.8 | -297
14 | 12 K19/C31/750MW | -4182.0408 | -1118.6719 | 365.3943 | 1360.1076 | -409.8 | -297
15 | 13 K19/C25/250MW | -3898.5374 | -1019.3483 | 374.4776 | 1294.5302 | -550.8 | -399.2
| 14 K19/C25/750 (WPS) | -3886.9287 | -766.2642 | 713.6088 | 1696.0134 | -550.8 | -399.2
| 15 K19/C25/750MW | -4116.6845 | -1031.7619 | 445.2208 | 1426.6184 | -550.8 | -399.2
REF | * Impact on a present value from increased capital expenditures with the alternative transmisssion options
| All Gas | -85.7629 | -2274.063 | -3666.4899 | -4617.3996
Development Plans Studies by MH that include Conawapa G. S.
| Plans | Economic Value of Development Plan compared to Plan 1 All Gas - CPV/NPV at the end of specific portions of the Study Period |  |  |  | Transmision Exposure*
|  | 20 Years | 35 Years | 50 Years | 78 Years | Option 1 Impact | Option 2 Impact
| 7 SCGT/C26 | -2508.1298 | -686.132 | 178.0825 | 738.254 | No impact | No impact
| 8 CCGT/C26 | -2633.374 | -716.4123 | 174.2312 | 783.6164 | No impact | No impact
| 9 Wind/C26 | -2776.8314 | -1031.4906 | -62.0831 | 530.8526 | No impact | No impact
| 10 K22/C29 | -4247.1326 | -1501.4176 | -111.6034 | 805.9195 | -452.28 | -327.83
| 11 K19/C31/250MW | -4041.2787 | -1087.0149 | 263.6887 | 1215.1073 | -409.8 | -297
| 12 K19/C31/750MW | -4182.0408 | -1118.6719 | 365.3943 | 1360.1076 | -409.8 | -297
| 13 K19/C25/250MW | -3898.5374 | -1019.3483 | 374.4776 | 1294.5302 | -550.8 | -399.2
| 14 K19/C25/750 (WPS) | -3886.9287 | -766.2642 | 713.6088 | 1696.0134 | -550.8 | -399.2
| 15 K19/C25/750MW | -4116.6845 | -1031.7619 | 445.2208 | 1426.6184 | -550.8 | -399.2
* Impact on a present value from increased capital expenditures with the alternative transmisssion options

## NPV- Gas 0 (2)
Plan Number | Plans | 78 Year CPV of Total Capital | 78 NPV | 50 CPV | 35 CPV | 20 CPV | 78 Year IRR | Break Even Year (All Gas) Base Case
2 | 2 K22/Gas | 2172.0234 | 887.0223 | 477.4416 | -190.9327 | -1394.422 | 6.632% | 2051
3 | 3 Wind/Gas | 2507.6275 | -775.2632 | -844.801 | -908.4186 | -813.9849 | N/A | N/A
4 | 4 K19/Gas24/250MW | 2631.6128 | 1346.4896 | 916.8109 | 254.291 | -1075.5023 | 7.098% | 2043
5 | 5 K19/Gas25/750MW (WPS) | 2733.2212 | 1096.5847 | 694.3052 | 161.0833 | -1302.4325 | 6.689% | 2044
6 | 6 K19/Gas31/750MW | 2784.4201 | 1090.8433 | 657.1982 | -20.5325 | -1322.7102 | 6.618% | 2048
7 | 7 SCGT/C26 | 2821.2182 | 738.254 | 178.0825 | -686.132 | -2508.1298 | 5.993% | 2059
8 | 8 CCGT/C26 | 3079.7284 | 783.6164 | 174.2312 | -716.4123 | -2633.374 | 5.989% | 2059
9 | 9 Wind/C26 | 3738.066 | 530.8526 | -62.0831 | -1031.4906 | -2776.8314 | 5.67% | 2064
10 | 10 K22/C29 | 4903.5792 | 805.9195 | -111.6034 | -1501.4176 | -4247.1326 | 5.71% | 2064
11 | 11 K19/C31/250MW | 5171.0047 | 1215.1073 | 263.6887 | -1087.0149 | -4041.2787 | 6.037% | 2059
12 | 12 K19/C31/750MW | 5415.2328 | 1360.1076 | 365.3943 | -1118.6719 | -4182.0408 | 6.618% | 2058
13 | 13 K19/C25/250MW | 5904.8369 | 1294.5302 | 374.4776 | -1019.3483 | -3898.5374 | 5.936% | 2058
14 | 14 K19/C25/750 (WPS) | 6179.2124 | 1696.0134 | 713.6088 | -766.2642 | -3886.9287 | 6.153% | 2054
15 | 15 K19/C25/750MW | 6319.8335 | 1426.6184 | 445.2208 | -1031.7619 | -4116.6845 | 5.964% | 2057
REF | All Gas |  | -4617.3996 | -3666.4899 | -2274.063 | -85.7629

## 9.3 Values
Preferred=14
Gas=1 | 0.14971 | 1.7792 | 0.0505 | 0.0505 | 0.0505 | 0.0505 | 0.0505 | 0.0505 | 0.0505 | 0.0505 | 0.0505 | 0.0505 | 0.0505 | -0.008841% | 0.0505
Plan # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| All Gas | K22 GAS | Wind/Gas | K19 Gas 250 MW | K19 Gas25 750MW (WPS Sale & INV) | K19 Gas31 750MW | Gas C26 | CCGT C26 | Wind/C26 | K22 C29 | K19 C31 250MW | K19 C31 750MW | K19 C25 250 MW | Preferred | K19 C25 750MW
2012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013 | 0 | 0 | 0 | -2.8178 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8178 | 0 | -2.8178 | 0 | 0
2014 | 19.12 | -23.0568 | 19.1013 | -156.1661 | -157.3465 | -157.4683 | -12.1285 | -12.1285 | -12.1285 | -54.2866 | -187.396 | -188.6982 | -188.032 | -189.21 | -189.3342
2015 | 108.03 | 74.8982 | 108.0412 | -394.8583 | -400.8756 | -400.7167 | 67.9305 | 67.9305 | 67.9409 | 34.7979 | -434.4339 | -440.2923 | -482.9355 | -488.97 | -488.7939
2016 | 116.21 | 86.0447 | 116.2267 | -555.7531 | -570.2961 | -569.8173 | 27.5883 | 27.5883 | 27.5883 | 74.4505 | -566.8169 | -580.8811 | -739.5018 | -754.09 | -753.566
2017 | 133.71 | -97.1062 | 133.727 | -697.6428 | -717.2383 | -716.8434 | -51.2993 | -51.2993 | -51.2993 | -109.4915 | -708.823 | -728.0235 | -912.6526 | -932.18 | -931.8531
2018 | 120.52 | -305.0479 | 120.8815 | -506.7115 | -586.0275 | -629.9402 | -95.9785 | -95.9785 | -95.6192 | -317.5633 | -519.9741 | -643.2028 | -766.0439 | -845.33 | -889.1584
2019 | 115.48 | -579.9881 | 115.4816 | -348.6606 | -405.2087 | -422.3407 | -145.6331 | -292.4561 | -145.6331 | -594.9227 | -362.0622 | -435.7423 | -619.2609 | -675.79 | -692.8164
2020 | 52.36 | -652.3318 | 116.5735 | 140.5131 | -9.8598 | -130.4466 | -216.96 | -358.2238 | -152.253 | -819.913 | 126.9716 | -143.9881 | -592.3952 | -743.1 | -863.7038
2021 | 10.89 | -534.9675 | -183.1849 | 322.8919 | 323.2043 | 322.4983 | -723.381 | -711.5933 | -916.7056 | -789.8544 | 305.8553 | 305.4617 | -892.2778 | -891.72 | -892.4844
2022 | 92.02 | -291.1658 | -195.5438 | 275.9137 | 376.9053 | 376.7304 | -1087.151 | -1060.226 | -1374.4264 | -565.7186 | 109.282 | 210.3686 | -718.0545 | -705.31 | -705.7662
2023 | 6.93 | 69.0274 | -355.3873 | 234.6408 | 248.0469 | 341.4026 | -989.6362 | -962.4997 | -1253.7198 | -216.2906 | -20.5993 | 86.4948 | -462.5064 | -458.35 | -458.1283
2024 | -113.7 | 184.7501 | -141.6582 | 326.9206 | 115.5494 | 316.8889 | -709.3878 | -678.1079 | -675.9673 | -574.6076 | 48.3118 | 38.4981 | -287.324 | -288.12 | -287.6
2025 | -9.59 | 201.3433 | 11.8439 | 245.6613 | 64.8106 | 258.0752 | -526.2069 | -507.4818 | -521.6699 | -1041.4048 | -43.5585 | -31.3969 | -106.2434 | -99.05 | -98.311
2026 | -88.45 | 182.0213 | -191.0859 | 217.2083 | 165.979 | 229.8231 | -262.5295 | -259.059 | -219.4871 | -925.7523 | -550.707 | -539.7848 | 245.6104 | 290.94 | 274.5987
2027 | -142.53 | 47.6327 | -328.8072 | 106.8321 | 135.0575 | 190.9264 | 101.5584 | 104.2293 | 146.2934 | -677.9407 | -1150.3112 | -1068.1111 | 428.6647 | 506.09 | 473.3751
2028 | -251.8 | -11.9915 | -198.8454 | -20.158 | 183.1715 | 160.1936 | 203.7288 | 209.7954 | 244.8189 | -504.5056 | -1075.19 | -963.4162 | 451.9942 | 534.23 | 500.6867
2029 | -333.04 | 90.0191 | -275.9729 | -44.7483 | 96.8218 | -43.6243 | 218.9328 | 225.2071 | 260.999 | -243.933 | -724.4178 | -708.5363 | 430.3015 | 511.36 | 480.0954
2030 | -199.78 | 11.6893 | -307.3131 | -101.3893 | 1.4275 | -192.459 | 205.1084 | 195.4426 | 250.456 | 113.3307 | -471.2464 | -514.9245 | 425.986 | 507 | 478.3452
2031 | -132.09 | -267.117 | -312.6066 | 32.0765 | 71.001 | -85.8123 | 178.8934 | 204.9188 | 234.8851 | 318.066 | -240.6937 | -223.1875 | 411.6067 | 493.57 | 467.8594
2032 | -238.46 | -206.3582 | -397.113 | 102.7741 | 20.2595 | 3.7319 | 149.0175 | 159.8713 | 214.4632 | 334.8867 | 124.1508 | 159.1351 | 393.3315 | 474.72 | 452.0152
2033 | -365.23 | -61.3932 | -256.2539 | 87.6031 | 76.1266 | -31.2245 | 123.0858 | 139.0072 | 189.41 | 316.6788 | 332.7369 | 391.0885 | 370.5928 | 450.26 | 430.7639
2034 | -412.83 | 7.88 | -345.2388 | 64.1595 | 80.7262 | 43.4076 | 103.2828 | 112.7555 | 66.37 | 295.9883 | 345.6975 | 407.96 | 347.8002 | 425.99 | 409.5874
2035 | -491.05 | -176.7821 | -398.927 | -154.7486 | 22.087 | -6.3781 | 87.6835 | 96.0555 | 19.3949 | 275.3577 | 310.4442 | 357.0534 | 311.4677 | 390.21 | 356.9162
2036 | -369.19 | -274.2232 | -414.2434 | -259.4276 | -35.9693 | -198.365 | -3.7806 | 69.4589 | 21.0521 | 251.4582 | 283.3777 | 328.4238 | 285.8731 | 341.33 | 330.4396
2037 | -475.17 | -132.3008 | -447.9591 | -117.5927 | -70.8177 | -295.4807 | -60.4517 | -11.3326 | -19.8368 | 226.8773 | 251.6981 | 304.2848 | 260.6868 | 309.58 | 305.6329
2038 | -573.68 | -240.7003 | -458.4372 | -226.6864 | -81.5717 | -225.7769 | 4.2335 | -65.197 | 53.8413 | 101.9433 | 216.1224 | 278.3173 | 132.7978 | 282.43 | 279.5499
2039 | -461.93 | -339.8527 | -557.8049 | -328.9469 | -298.8889 | -106.7759 | -85.6862 | -10.5328 | -31.0109 | 40.8014 | 177.2164 | 142.8443 | 73.2584 | 146.17 | 144.1257
2040 | -406.57 | -280.815 | -431.9635 | -271.0631 | -399.7593 | -137.5053 | -211.1906 | -98.6477 | -177.0782 | 132.5462 | 156.4268 | 96.3083 | 158.9283 | 99.88 | 97.7961
2041 | -609.45 | -161.2998 | -814.2836 | -148.3287 | -267.8155 | -250.6898 | -167.7685 | -226.6033 | -406.8487 | 128.3561 | 127.9092 | 176.4435 | 153.8081 | 183.4 | 181.2921
2042 | -715.71 | -361.5873 | -879.8975 | -344.9933 | -192.0457 | -478.6691 | -209.7322 | -170.6596 | -449.224 | 26.323 | 124.2703 | 92.7924 | 55.7718 | 96.74 | 94.7658
2043 | -652.88 | -462.5818 | -891.0329 | -448.7384 | -308.8425 | -486.7291 | -231.0886 | -215.6847 | -460.0536 | -32.0873 | 105.9969 | 34.7322 | -3.1772 | 38.73 | 36.6951
2044 | -532.48 | -341.7538 | -639.9309 | -334.456 | -446.1095 | -406.1674 | -333.5406 | -159.2726 | -286.4412 | -46.0082 | -6.0599 | 32.1902 | -20.9437 | 36.06 | 34.1428
2045 | -607.31 | -280.6472 | -609.3321 | -291.8233 | -370.0113 | -279.8938 | -225.6785 | -252.0631 | -162.71 | -155.0189 | -137.5244 | -95.2506 | -138.7326 | -94.29 | -96.1837
2046 | -657.44 | -304.8824 | -763.4482 | -275.1647 | -402.8626 | -304.3135 | -242.7059 | -362.5437 | -176.4974 | 15.2129 | 0.48472 | 39.3029 | 2.2244 | 43.12 | 41.2659
2047 | -650.46 | -346.1179 | -597.3129 | -331.8938 | -385.5215 | -341.8892 | -271.3948 | -258.7611 | -202.6318 | -25.9156 | -8.1154 | 33.2767 | -6.9617 | 36.38 | 34.581
2048 | -609.04 | -309.1209 | -565.9929 | -295.5925 | -349.0358 | -303.7937 | -240.1231 | -203.4869 | -174.143 | 9.3844 | 19.2855 | 60.9739 | 20.3734 | 64.03 | 62.2781
2049 | -618.92 | -318.9861 | -569.8615 | -309.2435 | -362.8552 | -317.5653 | -249.9943 | -359.4506 | -184.0142 | -3.3768 | 5.6346 | 47.2083 | 6.7225 | 50.21 | 48.5126
2050 | -690.14 | -318.5226 | -569.7804 | -306.1917 | -359.9833 | -314.6473 | -321.2241 | -424.4161 | -184.0202 | -0.023291 | 8.6804 | 50.1263 | 8.0306 | 51.35 | 49.693
2051 | -716.2 | -317.7077 | -569.7804 | -321.4198 | -376.9682 | -331.5877 | -349.0193 | -309.6305 | -185.7639 | 0.78554 | -9.4498 | 30.2899 | -7.2035 | 34.36 | 32.7526
2052 | -633.68 | -320.6159 | -569.7804 | -397.866 | -382.7224 | -337.2989 | -266.5064 | -222.059 | -185.7699 | -2.1287 | -83.006 | 27.4748 | -11.7179 | 28.61 | 27.0414
2053 | -681.36 | -307.8198 | -704.5104 | -418.7882 | -458.7084 | -340.9457 | -241.8848 | -205.2486 | -175.9047 | 10.6614 | -103.9342 | 23.8219 | -6.3334 | 24.91 | 23.3885
2054 | -707.8 | -321.7085 | -757.3989 | -331.6576 | -553.7224 | -336.8164 | -241.8848 | -205.2546 | -175.9047 | -4.9649 | -16.8036 | 27.9512 | -3.4211 | 28.14 | 26.6457
2055 | -624.04 | -326.3864 | -593.2563 | -300.1575 | -480.1674 | -320.4093 | -241.8848 | -205.2546 | -179.2879 | -9.6428 | 14.6965 | 44.3583 | 12.0161 | 43.34 | 41.8944
2056 | -691.73 | -327.9264 | -638.9413 | -311.0864 | -450.4253 | -316.4031 | -252.3227 | -215.6925 | -182.7017 | -11.1828 | 2.03 | 46.6269 | -5.6108 | 40.61 | 39.2025
2057 | -709.29 | -397.8964 | -666.9929 | -369.3469 | -446.4451 | -300.598 | -240.1471 | -203.517 | -180.9334 | -7.3984 | -56.2306 | 62.432 | 15.1162 | 61.62 | 60.2407
2058 | -777.06 | -408.1148 | -578.9084 | -421.0974 | -376.6473 | -315.7912 | -240.1471 | -203.517 | -177.5503 | 8.4882 | -107.981 | 47.2388 | -3.8664 | 42.9 | 41.5588
2059 | -884.61 | -338.1579 | -654.8251 | -467.3331 | -432.361 | -451.8907 | -240.1471 | -203.517 | -175.2948 | -8.1641 | -0.65301 | 60.1269 | 2.6261 | 49.65 | 48.3416
2060 | -707.93 | -382.2495 | -672.9385 | -532.938 | -514.7721 | -590.3008 | -240.1471 | -203.517 | -183.7473 | 0.63171 | 1.1578 | 50.2059 | -16.077 | 33.91 | 33.1874
2061 | -616.33 | -580.2303 | -945.7918 | -394.9555 | -433.4044 | -429.576 | -240.1471 | -203.517 | -466.6409 | -9.629 | 15.4932 | 64.5413 | -4.9441 | 45.05 | 44.3203
2062 | -684.68 | -549.8661 | -1019.3755 | -318.3932 | -460.985 | -403.0799 | -240.1471 | -203.517 | -472.1153 | -0.51996 | -6.6987 | 42.3494 | -10.6383 | 39.35 | 38.6261
2063 | -712.34 | -432.5157 | -869.2743 | -353.2034 | -358.3186 | -399.7332 | -255.641 | -219.0108 | -478.0289 | -19.2231 | 1.945 | 63.0764 | 17.5456 | 70.34 | 69.6138
2064 | -782.17 | -314.7633 | -647.1669 | -325.3112 | -370.7267 | -340.1215 | -240.1471 | -203.517 | -256.0164 | -9.8345 | -19.1791 | 31.5909 | -24.8631 | 26.85 | 26.1232
2065 | -845.79 | -481.6187 | -674.4182 | -464.862 | -401.6579 | -327.8376 | -255.641 | -219.0108 | -293.9714 | -30.2023 | -6.6067 | 40.6618 | 6.4124 | 54.62 | 53.8972
2066 | -710.93 | -591.3233 | -799.7286 | -552.9782 | -371.7897 | -539.3447 | -320.1837 | -206.413 | -270.0274 | -4.9379 | -21.1863 | 18.3172 | -14.6598 | 25.78 | 25.0601
2067 | -776.37 | -442.0739 | -719.5185 | -411.4608 | -370.5336 | -553.9956 | -360.9971 | -296.537 | -295.0171 | -21.2113 | -19.5188 | 15.2124 | 6.8625 | 42.54 | 41.8101
2068 | -886.05 | -493.2332 | -659.2138 | -511.927 | -433.8722 | -490.4937 | -256.1295 | -309.3999 | -190.1494 | -90.7374 | -44.4241 | -38.3267 | -121.2501 | -36.3 | -37.0224
2069 | -712.47 | -556.0215 | -671.73 | -574.3651 | -593.8332 | -393.7108 | -333.9444 | -235.073 | -267.9644 | -114.8118 | -27.4742 | -99.6802 | -135.4572 | -100.31 | -101.0345
2070 | -616.66 | -420.3889 | -591.6096 | -415.1783 | -636.1294 | -356.6605 | -347.0915 | -282.2119 | -300.5405 | -29.6192 | -11.8934 | -114.3311 | -29.6066 | -114.97 | -115.6854
2071 | -772.1 | -349.8159 | -661.3218 | -304.9724 | -448.9119 | -377.2841 | -350.9527 | -326.4899 | -301.8884 | -23.6924 | 14.6278 | 47.4526 | -13.8261 | 19.94 | 19.2151
2072 | -844.59 | -504.5518 | -693.7141 | -461.1805 | -352.148 | -570.0626 | -357.9789 | -299.8409 | -312.2977 | -117.1979 | 2.03 | -28.4058 | -93.3884 | -43.41 | -44.124
2073 | -714.55 | -545.8424 | -671.9774 | -533.1739 | -423.48 | -596.5329 | -352.9796 | -337.9183 | -297.149 | -101.8637 | 18.3926 | -41.1159 | -117.804 | -67.81 | -68.5395
2074 | -635.09 | -415.1398 | -725.1232 | -401.6115 | -451.8293 | -402.477 | -351.3894 | -222.1276 | -288.7925 | -114.82 | -76.5131 | -43.9328 | -151.1885 | -91.92 | -92.6446
2075 | -644.55 | -363.0322 | -619.5461 | -349.4964 | -413.0394 | -304.2543 | -331.8196 | -304.5143 | -265.8396 | -132.7223 | -93.0419 | -53.2733 | -158.1386 | -117.43 | -118.1536
2076 | -657.53 | -308.2521 | -620.8393 | -295.5925 | -400.481 | -296.4581 | -245.186 | -373.556 | -179.206 | -38.9201 | -15.5238 | 33.5243 | -90.6117 | -40.63 | -41.3473
2077 | -616.41 | -307.3833 | -602.5278 | -295.5925 | -350.0829 | -296.4581 | -257.3786 | -237.4645 | -191.3986 | -17.6299 | -13.1763 | 35.8717 | 18.6117 | 68.6 | 67.8762
2078 | -655.17 | -307.3833 | -581.3626 | -313.8616 | -342.7299 | -296.4581 | -241.8848 | -205.2546 | -175.9047 | -63.6914 | -13.2549 | 26.5137 | -6.1616 | 43.82 | 43.1028
2079 | -609.06 | -307.3833 | -581.1195 | -298.4886 | -391.7334 | -345.4616 | -303.4936 | -366.841 | -237.5061 | -57.7451 | -12.3625 | 36.6856 | 15.7157 | 65.7 | 64.9801
2080 | -680.28 | -307.3833 | -590.3756 | -295.5925 | -358.099 | -296.4581 | -313.1086 | -416.3126 | -185.485 | -138.0373 | -101.0555 | -52.0074 | -51.6892 | -1.71 | -2.4248
2081 | -706.34 | -325.6515 | -872.2967 | -295.5925 | -342.7299 | -314.7271 | -354.654 | -361.3848 | -483.8723 | 9.3603 | -49.5816 | -0.53352 | 20.3493 | 70.34 | 69.6138
2082 | -623.82 | -310.2793 | -892.1138 | -367.5304 | -342.7299 | -296.4581 | -254.9036 | -210.4683 | -472.1153 | -9.0295 | -147.0046 | -26.0186 | 20.3493 | 70.34 | 69.6138
2083 | -696.73 | -307.3833 | -1010.5441 | -393.8431 | -415.0274 | -296.4581 | -240.1471 | -203.517 | -462.5351 | 9.3603 | -80.7267 | 66.5719 | 20.3493 | 70.34 | 69.6138
2084 | -717.67 | -317.2484 | -788.8645 | -321.2519 | -525.4075 | -307.7349 | -250.0123 | -213.3821 | -189.5067 | -15.9987 | -23.6294 | 39.8013 | 9.5944 | 59.06 | 58.337
2085 | -633.9 | -317.2484 | -620.4924 | -306.1917 | -468.5873 | -308.101 | -250.0123 | -213.3821 | -184.0323 | 1.2328 | 6.9247 | 54.929 | 6.8541 | 55.8 | 55.0748
2086 | -692.31 | -317.2484 | -799.6062 | -321.4198 | -460.1298 | -325.4167 | -252.9084 | -216.2782 | -186.9283 | 1.2328 | -23.7973 | 22.1195 | -5.4779 | 41.38 | 40.6552
2087 | -719.16 | -391.0028 | -686.7671 | -399.6825 | -477.9928 | -331.4907 | -250.0123 | -213.3821 | -184.0323 | 1.2328 | -84.8286 | 33.2769 | -9.9863 | 35.31 | 34.5812
2088 | -624.26 | -408.1148 | -584.277 | -421.2692 | -396.9708 | -350.8634 | -240.1471 | -203.517 | -174.1671 | 11.098 | -106.4152 | 29.2734 | -4.5958 | 31.3 | 30.5776
2089 | -609.06 | -322.664 | -575.1133 | -334.93 | -380.8776 | -334.6058 | -240.1471 | -203.517 | -174.1671 | 8.2019 | -20.076 | 30.1618 | -3.7073 | 32.19 | 31.4661
2090 | -609.06 | -322.7525 | -413.7594 | -318.4228 | -364.8038 | -318.532 | -258.4162 | -203.517 | -192.4362 | 11.098 | 11.8004 | 46.2356 | 12.8883 | 48.26 | 47.5399
| 43.8298 | 23.7776 | 83.74 | 28.8669 | 31.2678 | 23.4864 | 18.3236 | 24.111 | 30.3509 | 28.0378 | 40.3806 | 39.9665 | 20.2455 | 23.9343 | 23.9343
| -0.00087461 | -1.2717e-05 | -5476.4029 | -3299.777 | -3552.0828 | -3550.0427 | -3897.4692 | -3857.8942 | -4116.898 | -3839.5179 | -3442.6729 | -3297.2586 | -3343.1149 | -0.00017159 | -3214.7155
| 14.97% | 177.9% | 19.85% | #NUM! | #NUM! | #NUM! | 107.5% | 118% | 110.4% | #NUM! | #NUM! | -2.633% | #NUM! | -0.008841% | -0.4078%

## NPV Reference
Plan Number | Plans | 78 NPV | 50 NPV | 35 NPV | 20 NPV | REF Discount Rate | 5.05%
1 | All Gas | -4617.3996 | -3666.4899 | -2274.063 | -85.7629
2 | K22/Gas | -3730.3774 | -3189.0484 | -2464.9957 | -1480.1849
3 | Wind/Gas | -5392.6628 | -4511.2909 | -3182.4816 | -899.7478
4 | K19/Gas24/250MW | -3270.91 | -2749.6791 | -2019.772 | -1161.2652
5 | K19/Gas25/750MW (WPS) | -3520.8149 | -2972.1847 | -2112.9797 | -1388.1954
6 | K19/Gas31/750MW | -3526.5563 | -3009.2917 | -2294.5955 | -1408.4731
7 | SCGT/C26 | -3879.1456 | -3488.4075 | -2960.195 | -2593.8927
8 | CCGT/C26 | -3833.7833 | -3492.2587 | -2990.4753 | -2719.1369
9 | Wind/C26 | -4086.5471 | -3728.573 | -3305.5536 | -2862.5943
10 | K22/C29 | -3811.4801 | -3778.0934 | -3775.4806 | -4332.8955
11 | K19/C31/250MW | -3402.2923 | -3402.8012 | -3361.0779 | -4127.0416
12 | K19/C31/750MW | -3257.2921 | -3301.0956 | -3392.7349 | -4267.8037
13 | K19/C25/250MW | -3322.8695 | -3292.0123 | -3293.4113 | -3984.3003
14 | K19/C25/750 (WPS) | -2921.3863 | -2952.8811 | -3040.3272 | -3972.6916
15 | K19/C25/750MW | -3190.7812 | -3221.2691 | -3305.8249 | -4202.4474

## NPV- Gas 0
Plan Number | Plans | 78 NPV | Plans | 50 NPV | Plans | 35 NPV | Plans | 20 NPV
1 | 1 All Gas | 0 | 1 All Gas | 0 | 1 All Gas | 0 | 1 All Gas | 0
2 | 2 K22/Gas | 887.0223 | 2 K22/Gas | 477.4416 | 2 K22/Gas | -190.9327 | 2 K22/Gas | -1394.422
3 | 3 Wind/Gas | -775.2632 | 3 Wind/Gas | -844.801 | 3 Wind/Gas | -908.4186 | 3 Wind/Gas | -813.9849
4 | 4 K19/Gas24/250MW | 1346.4896 | 4 K19/Gas24/250MW | 916.8109 | 4 K19/Gas24/250MW | 254.291 | 4 K19/Gas24/250MW | -1075.5023
5 | 5 K19/Gas25/750MW (WPS) | 1096.5847 | 5 K19/Gas25/750MW (WPS) | 694.3052 | 5 K19/Gas25/750MW (WPS) | 161.0833 | 5 K19/Gas25/750MW (WPS) | -1302.4325
6 | 6 K19/Gas31/750MW | 1090.8433 | 6 K19/Gas31/750MW | 657.1982 | 6 K19/Gas31/750MW | -20.5325 | 6 K19/Gas31/750MW | -1322.7102
7 | 7 SCGT/C26 | 738.254 | 7 SCGT/C26 | 178.0825 | 7 SCGT/C26 | -686.132 | 7 SCGT/C26 | -2508.1298
8 | 8 CCGT/C26 | 783.6164 | 8 CCGT/C26 | 174.2312 | 8 CCGT/C26 | -716.4123 | 8 CCGT/C26 | -2633.374
9 | 9 Wind/C26 | 530.8526 | 9 Wind/C26 | -62.0831 | 9 Wind/C26 | -1031.4906 | 9 Wind/C26 | -2776.8314
10 | 10 K22/C29 | 805.9195 | 10 K22/C29 | -111.6034 | 10 K22/C29 | -1501.4176 | 10 K22/C29 | -4247.1326
11 | 11 K19/C31/250MW | 1215.1073 | 11 K19/C31/250MW | 263.6887 | 11 K19/C31/250MW | -1087.0149 | 11 K19/C31/250MW | -4041.2787
12 | 12 K19/C31/750MW | 1360.1076 | 12 K19/C31/750MW | 365.3943 | 12 K19/C31/750MW | -1118.6719 | 12 K19/C31/750MW | -4182.0408
13 | 13 K19/C25/250MW | 1294.5302 | 13 K19/C25/250MW | 374.4776 | 13 K19/C25/250MW | -1019.3483 | 13 K19/C25/250MW | -3898.5374
14 | 14 K19/C25/750 (WPS) | 1696.0134 | 14 K19/C25/750 (WPS) | 713.6088 | 14 K19/C25/750 (WPS) | -766.2642 | 14 K19/C25/750 (WPS) | -3886.9287
15 | 15 K19/C25/750MW | 1426.6184 | 15 K19/C25/750MW | 445.2208 | 15 K19/C25/750MW | -1031.7619 | 15 K19/C25/750MW | -4116.6845
REF | All Gas | -4617.3996 |  | -3666.4899 |  | -2274.063 |  | -85.7629

## NPV Graphs
1 All Gas
2 K22/Gas
3 Wind/Gas
4 K19/Gas24/250MW
5 K19/Gas25/750MW (WPS)
6 K19/Gas31/750MW
7 SCGT/C26
8 CCGT/C26
9 Wind/C26
10 K22/C29
11 K19/C31/250MW
12 K19/C31/750MW
13 K19/C25/250MW
14 K19/C25/750 (WPS)
15 K19/C25/750MW
*NOTE: scale is very different and is not adjusted to match other three graphs.

## Table 9.5
78 Year
Plan Number | Plans | All Gas | K22/Gas | Wind/Gas | SCGT/C26 | CCGT/C26 | Wind/C26
1 | All Gas | -
2 | K22/Gas | (2-1)
887.0223
3 | Wind/Gas | (3-1) | (3-2)
|  | -775.2632 | -1662.2854
7 | SCGT/C26 | (7-1) | (7-2) | (7-3)
|  | 738.254 | -148.7682 | 1513.5172
8 | CCGT/C26 | (8-1) | (8-2) | (8-3) | (8-7)
|  | 783.6164 | -103.4059 | 1558.8795 | 45.3623
9 | Wind/C26 | (9-1) | (9-2) | (9-3) | (9-7) | (9-8)
|  | 530.8526 | -356.1697 | 1306.1157 | -207.4015 | -252.7638
10 | K22/C29 | (10-1) | (10-2) | (10-3) | (10-7) | (10-8) | (10-9)
|  | 805.9195 | -81.1027 | 1581.1827 | 67.6655 | 22.3031 | 275.067
50 Year
Plan Number | Plans | All Gas | K22/Gas | Wind/Gas | SCGT/C26 | CCGT/C26 | Wind/C26
1 | All Gas | bar: (10-1) to (10-9)
2 | K22/Gas | (10-1): (2-1)
477.4416
3 | Wind/Gas | (10-1): (3-1); (10-2): (3-2)
|  | -844.801 | -1322.2425
7 | SCGT/C26 | (10-1): (7-1); (10-2): (7-2); (10-3): (7-3)
|  | 178.0825 | -299.3591 | 1022.8834
8 | CCGT/C26 | (8-1) | (8-2) | (8-3) | (8-7)
|  | 174.2312 | -303.2104 | 1019.0322 | -3.8513
9 | Wind/C26 | (9-1) | (9-2) | (9-3) | (9-7) | (9-8)
|  | -62.0831 | -539.5246 | 782.7179 | -240.1655 | -236.3143
10 | K22/C29 | (10-1) | (10-2) | (10-3) | (10-7) | (10-8) | (10-9)
|  | -111.6034 | -589.045 | 733.1975 | -289.6859 | -285.8346 | -49.5204
35 Year
Plan Number | Plans | All Gas | K22/Gas | Wind/Gas | SCGT/C26 | CCGT/C26 | Wind/C26
1 | All Gas | bar: (10-1) to (10-9)
2 | K22/Gas | (10-1): (2-1)
-190.9327
3 | Wind/Gas | (10-1): (3-1); (10-2): (3-2)
|  | -908.4186 | -717.4859
7 | SCGT/C26 | (10-1): (7-1); (10-2): (7-2); (10-3): (7-3)
|  | -686.132 | -495.1993 | 222.2866
8 | CCGT/C26 | (8-1) | (8-2) | (8-3) | (8-7)
|  | -716.4123 | -525.4796 | 192.0063 | -30.2802
9 | Wind/C26 | (9-1) | (9-2) | (9-3) | (9-7) | (9-8)
|  | -1031.4906 | -840.5579 | -123.072 | -345.3586 | -315.0784
10 | K22/C29 | (10-1) | (10-2) | (10-3) | (10-7) | (10-8) | (10-9)
|  | -1501.4176 | -1310.4849 | -592.999 | -815.2856 | -785.0054 | -469.927
35 Year
Plan Number | Plans | All Gas | K22/Gas | Wind/Gas | SCGT/C26 | CCGT/C26 | Wind/C26
1 | All Gas | bar: (10-1) to (10-9)
2 | K22/Gas | (10-1): (2-1)
-1394.422
3 | Wind/Gas | (10-1): (3-1); (10-2): (3-2)
|  | -813.9849 | -813.9849
7 | SCGT/C26 | (10-1): (7-1); (10-2): (7-2); (10-3): (7-3)
|  | -2508.1298 | -1113.7078 | -1694.145
8 | CCGT/C26 | (8-1) | (8-2) | (8-3) | (8-7)
|  | -2633.374 | -1238.952 | -1819.3891 | -125.2442
9 | Wind/C26 | (9-1) | (9-2) | (9-3) | (9-7) | (9-8)
|  | -2776.8314 | -1382.4093 | -1962.8465 | -268.7015 | -143.4574
10 | K22/C29 | (10-1) | (10-2) | (10-3) | (10-7) | (10-8) | (10-9)
|  | -4247.1326 | -2852.7106 | -3433.1477 | -1739.0027 | -1613.7586 | -1470.3012

## Table 9.6
78 Year |  |  |  |  | 78 Year
Plan Number | Plans | All Gas | K19/Gas24/250MW | K19/C31/250MW | Plan Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | All Gas | - |  |  | 1
[5 empty] | 2 | 1: 887.0223
4 | K19/Gas24/250MW | (4-1) |  |  | 3 | 1: -775.2632; 2: -1662.2854
|  | 1349.4497 |  |  | 4 | 1: 1346.4896; 2: 459.4674; 3: 2121.7528
11 | K19/C31/250MW | (11-1) | (11-4) |  | 5 | 1: 1096.5847; 2: 209.5625; 3: 1871.8479; 4: -249.9049
|  | 1218.0675 | -131.3823 |  | 6 | 1: 1090.8433; 2: 203.8211; 3: 1866.1065; 4: -255.6463; 5: -5.7414
13 | K19/C25/250MW | (13-1) | (13-4) | (13-11) | 7 | 1: 738.254; 2: -148.7682; 3: 1513.5172; 4: -608.2356; 5: -358.3307; 6: -352.5893
|  | 1297.4903 | -51.9594 | 79.4228 | 8 | 1: 783.6164; 2: -103.4059; 3: 1558.8795; 4: -562.8732; 5: -312.9683; 6: -307.2269; 7: 45.3623
[5 empty] | 9 | 1: 530.8526; 2: -356.1697; 3: 1306.1157; 4: -815.6371; 5: -565.7322; 6: -559.9907; 7: -207.4015; 8: -252.7638
50 Year |  |  |  |  | 10 | 805.9195 | -81.1027 | 1581.1827 | -540.5701 | -290.6652 | -284.9238 | 67.6655 | 22.3031 | 275.067
Plan Number | Plans | All Gas | K19/Gas24/250MW | K19/C31/250MW | 11 | 1215.1073 | 328.0851 | 1990.3705 | -131.3823 | 118.5226 | 124.264 | 476.8533 | 431.491 | 684.2548 | 409.1878
1 | All Gas | - |  |  | 12 | 1360.1076 | 473.0853 | 2135.3707 | 13.618 | 263.5229 | 269.2643 | 621.8535 | 576.4912 | 829.255 | 554.188 | 145.0002
[5 empty] | 13 | 1294.5302 | 407.5079 | 2069.7933 | -51.9594 | 197.9455 | 203.6869 | 556.2761 | 510.9138 | 763.6776 | 488.6107 | 79.4228 | -65.5774
4 | K19/Gas24/250MW | (4-1) |  |  | 14 | 1696.0134 | 808.9911 | 2471.2765 | 349.5237 | 599.4286 | 605.17 | 957.7593 | 912.397 | 1165.1608 | 890.0938 | 480.906 | 335.9058 | 401.4832
|  | 919.771 |  |  | 15 | 1426.6184 | 539.5962 | 2201.8816 | 80.1288 | 330.0337 | 335.7751 | 688.3644 | 643.0021 | 895.7659 | 620.6989 | 211.5111 | 66.5109 | 132.0882 | -269.3949
11 | K19/C31/250MW | (11-1) | (11-4)
|  | 266.6488 | -653.1222 |  | 50 Year
13 | K19/C25/250MW | (13-1) | (13-4) | (13-11) | Plan Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
|  | 377.4377 | -542.3333 | 110.7889 | 1
[5 empty] | 2 | 1: 477.4416
35 Year |  |  |  |  | 3 | 1: -844.801; 2: -1322.2425
Plan Number | Plans | All Gas | K19/Gas24/250MW | K19/C31/250MW | 4 | 1: 916.8109; 2: 439.3693; 3: 1761.6118
1 | All Gas | - |  |  | 5 | 1: 694.3052; 2: 216.8637; 3: 1539.1062; 4: -222.5056
[5 empty] | 6 | 1: 657.1982; 2: 179.7566; 3: 1501.9992; 4: -259.6127; 5: -37.107
4 | K19/Gas24/250MW | (4-1) |  |  | 7 | 1: 178.0825; 2: -299.3591; 3: 1022.8834; 4: -738.7284; 5: -516.2228; 6: -479.1157
|  | 257.2511 |  |  | 8 | 1: 174.2312; 2: -303.2104; 3: 1019.0322; 4: -742.5797; 5: -520.074; 6: -482.967; 7: -3.8513
11 | K19/C31/250MW | (11-1) | (11-4) |  | 9 | 1: -62.0831; 2: -539.5246; 3: 782.7179; 4: -978.8939; 5: -756.3883; 6: -719.2813; 7: -240.1655; 8: -236.3143
|  | -1084.0548 | -1341.3058 |  | 10 | -111.6034 | -589.045 | 733.1975 | -1028.4143 | -805.9087 | -768.8016 | -289.6859 | -285.8346 | -49.5204
13 | K19/C25/250MW | (13-1) | (13-4) | (13-11) | 11 | 263.6887 | -213.7529 | 1108.4897 | -653.1222 | -430.6165 | -393.5095 | 85.6062 | 89.4575 | 325.7718 | 375.2921
|  | -1016.3882 | -1273.6392 | 67.6666 | 12 | 365.3943 | -112.0472 | 1210.1953 | -551.4165 | -328.9109 | -291.8039 | 187.3119 | 191.1631 | 427.4774 | 476.9978 | 101.7056
[5 empty] | 13 | 374.4776 | -102.964 | 1219.2785 | -542.3333 | -319.8277 | -282.7206 | 196.3951 | 200.2464 | 436.5607 | 486.081 | 110.7889 | 9.0832
20 Year |  |  |  |  | 14 | 713.6088 | 236.1673 | 1558.4098 | -203.202 | 19.3036 | 56.4106 | 535.5264 | 539.3776 | 775.6919 | 825.2123 | 449.9201 | 348.2145 | 339.1313
Plan Number | Plans | All Gas | K19/Gas24/250MW | K19/C31/250MW | 15 | 445.2208 | -32.2208 | 1290.0217 | -471.5901 | -249.0845 | -211.9774 | 267.1383 | 270.9896 | 507.3039 | 556.8242 | 181.5321 | 79.8264 | 70.7432 | -268.3881
1 | All Gas | -
35 Year
4 | K19/Gas24/250MW | (4-1) |  |  | Plan Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
|  | -1072.5422 |  |  | 1
11 | K19/C31/250MW | (11-1) | (11-4) |  | 2 | 1: -190.9327
|  | -4038.3186 | -2965.7764 |  | 3 | 1: -908.4186; 2: -717.4859
13 | K19/C25/250MW | (13-1) | (13-4) | (13-11) | 4 | 1: 254.291; 2: 445.2237; 3: 1162.7096
|  | -3895.5773 | -2823.0352 | 142.7412 | 5 | 1: 161.0833; 2: 352.016; 3: 1069.5019; 4: -93.2076
[5 empty] | 6 | 1: -20.5325; 2: 170.4002; 3: 887.8861; 4: -274.8235; 5: -181.6158
[5 empty] | 7 | 1: -686.132; 2: -495.1993; 3: 222.2866; 4: -940.423; 5: -847.2154; 6: -665.5995
[5 empty] | 8 | 1: -716.4123; 2: -525.4796; 3: 192.0063; 4: -970.7032; 5: -877.4956; 6: -695.8797; 7: -30.2802
[5 empty] | 9 | 1: -1031.4906; 2: -840.5579; 3: -123.072; 4: -1285.7816; 5: -1192.574; 6: -1010.9581; 7: -345.3586; 8: -315.0784
[5 empty] | 10 | -1501.4176 | -1310.4849 | -592.999 | -1755.7086 | -1662.501 | -1480.8851 | -815.2856 | -785.0054 | -469.927
[5 empty] | 11 | -1087.0149 | -896.0822 | -178.5963 | -1341.3058 | -1248.0982 | -1066.4824 | -400.8828 | -370.6026 | -55.5242 | 414.4028
[5 empty] | 12 | -1118.6719 | -927.7392 | -210.2533 | -1372.9629 | -1279.7552 | -1098.1394 | -432.5399 | -402.2596 | -87.1813 | 382.7457 | -31.657
[5 empty] | 13 | -1019.3483 | -828.4155 | -110.9296 | -1273.6392 | -1180.4316 | -998.8157 | -333.2162 | -302.936 | 12.1424 | 482.0694 | 67.6666 | 99.3237
[5 empty] | 14 | -766.2642 | -575.3315 | 142.1544 | -1020.5551 | -927.3475 | -745.7317 | -80.1321 | -49.8519 | 265.2265 | 735.1535 | 320.7507 | 352.4077 | 253.0841
[5 empty] | 15 | -1031.7619 | -840.8292 | -123.3433 | -1286.0529 | -1192.8453 | -1011.2294 | -345.6299 | -315.3497 | -0.27129 | 469.6557 | 55.2529 | 86.91 | 3292.0123 | -265.4978
20 Year
[5 empty] | Plan Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1
[5 empty] | 2 | 1: -1394.422
[5 empty] | 3 | 1: -813.9849; 2: 580.4371
[5 empty] | 4 | 1: -1075.5023; 2: 318.9197; 3: -261.5174
[5 empty] | 5 | 1: -1302.4325; 2: 91.9895; 3: -488.4476; 4: -226.9302
[5 empty] | 6 | 1: -1322.7102; 2: 71.7119; 3: -508.7253; 4: -247.2079; 5: -20.2777
[5 empty] | 7 | 1: -2508.1298; 2: -1113.7078; 3: -1694.145; 4: -1432.6276; 5: -1205.6973; 6: -1185.4197
[5 empty] | 8 | 1: -2633.374; 2: -1238.952; 3: -1819.3891; 4: -1557.8717; 5: -1330.9415; 6: -1310.6638; 7: -125.2442
[5 empty] | 9 | 1: -2776.8314; 2: -1382.4093; 3: -1962.8465; 4: -1701.3291; 5: -1474.3989; 6: -1454.1212; 7: -268.7015; 8: -143.4574
[5 empty] | 10 | -4247.1326 | -2852.7106 | -3433.1477 | -3171.6303 | -2944.7001 | -2924.4224 | -1739.0027 | -1613.7586 | -1470.3012
[5 empty] | 11 | -4041.2787 | -2646.8567 | -3227.2938 | -2965.7764 | -2738.8462 | -2718.5685 | -1533.1488 | -1407.9047 | -1264.4473 | 205.8539
[5 empty] | 12 | -4182.0408 | -2787.6187 | -3368.0559 | -3106.5385 | -2879.6082 | -2859.3306 | -1673.9109 | -1548.6667 | -1405.2094 | 65.0918 | -140.7621
[5 empty] | 13 | -3898.5374 | -2504.1154 | -3084.5526 | -2823.0352 | -2596.1049 | -2575.8273 | -1390.4076 | -1265.1634 | -1121.7061 | 348.5951 | 142.7412 | 283.5033
[5 empty] | 14 | -3886.9287 | -2492.5067 | -3072.9438 | -2811.4264 | -2584.4962 | -2564.2185 | -1378.7989 | -1253.5547 | -1110.0974 | 360.2039 | 154.35 | 295.112 | 11.6087
[5 empty] | 15 | -4116.6845 | -2722.2625 | -3302.6997 | -3041.1823 | -2814.252 | -2793.9744 | -1608.5547 | -1483.3105 | -1339.8532 | 130.448 | -75.4059 | 65.3562 | -218.1471 | -229.7558

## Table 9.8
78 Year | [7 empty] | 78 Year
Plan Number | Plans | All Gas | K19/Gas24/250MW | K19/C31/250MW | K19/C25/250MW | K19/C31/750MW | K19/C25/750 (WPS) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | All Gas | - | [5 empty] | 1
[8 empty] | 2 | 1: 887.0223
4 | K19/Gas24/250MW | (4-1) | [5 empty] | 3 | 1: -775.2632; 2: -1662.2854
|  | 1349.4497 | [5 empty] | 4 | 1: 1346.4896; 2: 459.4674; 3: 2121.7528
11 | K19/C31/250MW | (11-1) | (11-4) |  |  |  |  | 5 | 1: 1096.5847; 2: 209.5625; 3: 1871.8479; 4: -249.9049
|  | 1218.0675 | -131.3823 |  |  |  |  | 6 | 1: 1090.8433; 2: 203.8211; 3: 1866.1065; 4: -255.6463; 5: -5.7414
12 | K19/C31/750MW | (12-1) | (12-4) | (12-11) |  |  |  | 7 | 1: 738.254; 2: -148.7682; 3: 1513.5172; 4: -608.2356; 5: -358.3307; 6: -352.5893
|  | 1360.1076 | 10.6579 | 142.0401 |  |  |  | 8 | 1: 783.6164; 2: -103.4059; 3: 1558.8795; 4: -562.8732; 5: -312.9683; 6: -307.2269; 7: 45.3623
13 | K19/C25/250MW | (13-1) | (13-4) | (13-11) | (14-12) |  |  | 9 | 1: 530.8526; 2: -356.1697; 3: 1306.1157; 4: -815.6371; 5: -565.7322; 6: -559.9907; 7: -207.4015; 8: -252.7638
|  | 1297.4903 | -51.9594 | 79.4228 | -62.6173 |  |  | 10 | 805.9195 | -81.1027 | 1581.1827 | -540.5701 | -290.6652 | -284.9238 | 67.6655 | 22.3031 | 275.067
14 | K19/C25/750 (WPS) | (14-1) | (14-4) | (14-11) | (14-12) | (14-13) |  | 11 | 1215.1073 | 328.0851 | 1990.3705 | -131.3823 | 118.5226 | 124.264 | 476.8533 | 431.491 | 684.2548 | 409.1878
|  | 1696.0134 | 346.5636 | 477.9459 | 335.9058 | 398.5231 |  | 12 | 1360.1076 | 473.0853 | 2135.3707 | 13.618 | 263.5229 | 269.2643 | 621.8535 | 576.4912 | 829.255 | 554.188 | 145.0002
15 | K19/C25/750MW | (15-1) | (15-4) | (15-11) | (15-12) | (15-13) | (15-14) | 13 | 1294.5302 | 407.5079 | 2069.7933 | -51.9594 | 197.9455 | 203.6869 | 556.2761 | 510.9138 | 763.6776 | 488.6107 | 79.4228 | -65.5774
|  | 1426.6184 | 77.1687 | 208.551 | 66.5109 | 129.1281 | -269.3949 | 14 | 1696.0134 | 808.9911 | 2471.2765 | 349.5237 | 599.4286 | 605.17 | 957.7593 | 912.397 | 1165.1608 | 890.0938 | 480.906 | 335.9058 | 401.4832
[8 empty] | 15 | 1426.6184 | 539.5962 | 2201.8816 | 80.1288 | 330.0337 | 335.7751 | 688.3644 | 643.0021 | 895.7659 | 620.6989 | 211.5111 | 66.5109 | 132.0882 | -269.3949
50 Year
Plan Number | Plans | All Gas | K19/Gas24/250MW | K19/C31/250MW | K19/C25/250MW | K19/C31/750MW | K19/C25/750 (WPS) | 50 Year
1 | All Gas | - | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1
4 | K19/Gas25/750MW (WPS) | (4-1) | [5 empty] | 2 | 1: 477.4416
|  | 919.771 | [5 empty] | 3 | 1: -844.801; 2: -1322.2425
11 | K19/Gas31/750MW | (11-1) | (11-4) |  |  |  |  | 4 | 1: 916.8109; 2: 439.3693; 3: 1761.6118
|  | 266.6488 | -653.1222 |  |  |  |  | 5 | 1: 694.3052; 2: 216.8637; 3: 1539.1062; 4: -222.5056
12 | K19/C31/750MW | (12-1) | (12-4) | (12-11) |  |  |  | 6 | 1: 657.1982; 2: 179.7566; 3: 1501.9992; 4: -259.6127; 5: -37.107
|  | 365.3943 | -554.3766 | 98.7455 |  |  |  | 7 | 1: 178.0825; 2: -299.3591; 3: 1022.8834; 4: -738.7284; 5: -516.2228; 6: -479.1157
13 | K19/C25/750 (WPS) | (13-1) | (13-4) | (13-11) | (13-12) |  |  | 8 | 1: 174.2312; 2: -303.2104; 3: 1019.0322; 4: -742.5797; 5: -520.074; 6: -482.967; 7: -3.8513
|  | 377.4377 | -542.3333 | 110.7889 | 12.0434 |  |  | 9 | 1: -62.0831; 2: -539.5246; 3: 782.7179; 4: -978.8939; 5: -756.3883; 6: -719.2813; 7: -240.1655; 8: -236.3143
14 | K19/C25/750 (WPS) | (14-1) | (14-4) | (14-11) | (14-12) | (14-13) |  | 10 | -111.6034 | -589.045 | 733.1975 | -1028.4143 | -805.9087 | -768.8016 | -289.6859 | -285.8346 | -49.5204
|  | 713.6088 | -206.1621 | 446.96 | 348.2145 | 336.1712 |  | 11 | 263.6887 | -213.7529 | 1108.4897 | -653.1222 | -430.6165 | -393.5095 | 85.6062 | 89.4575 | 325.7718 | 375.2921
15 | K19/C25/750MW | (15-1) | (15-4) | (15-11) | (15-12) | (15-13) | (15-14) | 12 | 365.3943 | -112.0472 | 1210.1953 | -551.4165 | -328.9109 | -291.8039 | 187.3119 | 191.1631 | 427.4774 | 476.9978 | 101.7056
|  | 445.2208 | -474.5502 | 178.572 | 79.8264 | 67.7831 | -269.3949 | 13 | 374.4776 | -102.964 | 1219.2785 | -542.3333 | -319.8277 | -282.7206 | 196.3951 | 200.2464 | 436.5607 | 486.081 | 110.7889 | 9.0832
[8 empty] | 14 | 713.6088 | 236.1673 | 1558.4098 | -203.202 | 19.3036 | 56.4106 | 535.5264 | 539.3776 | 775.6919 | 825.2123 | 449.9201 | 348.2145 | 339.1313
[8 empty] | 15 | 445.2208 | -32.2208 | 1290.0217 | -471.5901 | -249.0845 | -211.9774 | 267.1383 | 270.9896 | 507.3039 | 556.8242 | 181.5321 | 79.8264 | 70.7432 | -268.3881
35 Year
Plan Number | Plans | All Gas | K19/Gas24/250MW | K19/C31/250MW | K19/C25/250MW | K19/C31/750MW | K19/C25/750 (WPS) | 35 Year
1 | All Gas | - | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1
4 | K19/Gas25/750MW (WPS) | (4-1) | [5 empty] | 2 | 1: -190.9327
|  | 257.2511 | [5 empty] | 3 | 1: -908.4186; 2: -717.4859
11 | K19/Gas31/750MW | (11-1) | (11-4) |  |  |  |  | 4 | 1: 254.291; 2: 445.2237; 3: 1162.7096
|  | -1084.0548 | -1341.3058 |  |  |  |  | 5 | 1: 161.0833; 2: 352.016; 3: 1069.5019; 4: -93.2076
12 | K19/C31/750MW | (12-1) | (12-4) | (12-11) |  |  |  | 6 | 1: -20.5325; 2: 170.4002; 3: 887.8861; 4: -274.8235; 5: -181.6158
|  | -1118.6719 | -1375.923 | -34.6171 |  |  |  | 7 | 1: -686.132; 2: -495.1993; 3: 222.2866; 4: -940.423; 5: -847.2154; 6: -665.5995
13 | K19/C25/750 (WPS) | (13-1) | (13-4) | (13-11) | (13-12) |  |  | 8 | 1: -716.4123; 2: -525.4796; 3: 192.0063; 4: -970.7032; 5: -877.4956; 6: -695.8797; 7: -30.2802
|  | -1016.3882 | -1273.6392 | 67.6666 | 102.2838 |  |  | 9 | 1: -1031.4906; 2: -840.5579; 3: -123.072; 4: -1285.7816; 5: -1192.574; 6: -1010.9581; 7: -345.3586; 8: -315.0784
14 | K19/C25/750 (WPS) | (14-1) | (14-4) | (14-11) | (14-12) | (14-13) |  | 10 | -1501.4176 | -1310.4849 | -592.999 | -1755.7086 | -1662.501 | -1480.8851 | -815.2856 | -785.0054 | -469.927
|  | -766.2642 | -1023.5153 | 317.7906 | 352.4077 | 250.124 |  | 11 | -1087.0149 | -896.0822 | -178.5963 | -1341.3058 | -1248.0982 | -1066.4824 | -400.8828 | -370.6026 | -55.5242 | 414.4028
15 | K19/C25/750MW | (15-1) | (15-4) | (15-11) | (15-12) | (15-13) | (15-14) | 12 | -1118.6719 | -927.7392 | -210.2533 | -1372.9629 | -1279.7552 | -1098.1394 | -432.5399 | -402.2596 | -87.1813 | 382.7457 | -31.657
|  | -1031.7619 | -1289.013 | 52.2928 | 86.91 | 3289.0522 | -265.4978 | 13 | -1019.3483 | -828.4155 | -110.9296 | -1273.6392 | -1180.4316 | -998.8157 | -333.2162 | -302.936 | 12.1424 | 482.0694 | 67.6666 | 99.3237
[8 empty] | 14 | -766.2642 | -575.3315 | 142.1544 | -1020.5551 | -927.3475 | -745.7317 | -80.1321 | -49.8519 | 265.2265 | 735.1535 | 320.7507 | 352.4077 | 253.0841
[8 empty] | 15 | -1031.7619 | -840.8292 | -123.3433 | -1286.0529 | -1192.8453 | -1011.2294 | -345.6299 | -315.3497 | -0.27129 | 469.6557 | 55.2529 | 86.91 | 3292.0123 | -265.4978
20 Year
Plan Number | Plans | All Gas | K19/Gas24/250MW | K19/C31/250MW | K19/C25/250MW | K19/C31/750MW | K19/C25/750 (WPS)
1 | All Gas | - | [5 empty] | 20 Year
[9 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
4 | K19/Gas25/750MW (WPS) | (4-1) | [5 empty] | 1
|  | -1072.5422 | [5 empty] | 2 | 1: -1394.422
11 | K19/Gas31/750MW | (11-1) | (11-4) |  |  |  |  | 3 | 1: -813.9849; 2: 580.4371
|  | -4038.3186 | -2965.7764 |  |  |  |  | 4 | 1: -1075.5023; 2: 318.9197; 3: -261.5174
12 | K19/C31/750MW | (12-1) | (12-4) | (12-11) |  |  |  | 5 | 1: -1302.4325; 2: 91.9895; 3: -488.4476; 4: -226.9302
|  | -4182.0408 | -3109.4986 | -143.7222 |  |  |  | 6 | 1: -1322.7102; 2: 71.7119; 3: -508.7253; 4: -247.2079; 5: -20.2777
13 | K19/C25/750 (WPS) | (13-1) | (13-4) | (13-11) | (13-12) |  |  | 7 | 1: -2508.1298; 2: -1113.7078; 3: -1694.145; 4: -1432.6276; 5: -1205.6973; 6: -1185.4197
|  | -3895.5773 | -2823.0352 | 142.7412 | 286.4634 |  |  | 8 | 1: -2633.374; 2: -1238.952; 3: -1819.3891; 4: -1557.8717; 5: -1330.9415; 6: -1310.6638; 7: -125.2442
14 | K19/C25/750 (WPS) | (14-1) | (14-4) | (14-11) | (14-12) | (14-13) |  | 9 | 1: -2776.8314; 2: -1382.4093; 3: -1962.8465; 4: -1701.3291; 5: -1474.3989; 6: -1454.1212; 7: -268.7015; 8: -143.4574
|  | -3886.9287 | -2814.3865 | 151.3899 | 295.112 | 8.6486 |  | 10 | -4247.1326 | -2852.7106 | -3433.1477 | -3171.6303 | -2944.7001 | -2924.4224 | -1739.0027 | -1613.7586 | -1470.3012
15 | K19/C25/750MW | (15-1) | (15-4) | (15-11) | (15-12) | (15-13) | (15-14) | 11 | -4041.2787 | -2646.8567 | -3227.2938 | -2965.7764 | -2738.8462 | -2718.5685 | -1533.1488 | -1407.9047 | -1264.4473 | 205.8539
|  | -4116.6845 | -3044.1424 | -78.366 | 65.3562 | -221.1072 | -229.7558 | 12 | -4182.0408 | -2787.6187 | -3368.0559 | -3106.5385 | -2879.6082 | -2859.3306 | -1673.9109 | -1548.6667 | -1405.2094 | 65.0918 | -140.7621
[8 empty] | 13 | -3898.5374 | -2504.1154 | -3084.5526 | -2823.0352 | -2596.1049 | -2575.8273 | -1390.4076 | -1265.1634 | -1121.7061 | 348.5951 | 142.7412 | 283.5033
[8 empty] | 14 | -3886.9287 | -2492.5067 | -3072.9438 | -2811.4264 | -2584.4962 | -2564.2185 | -1378.7989 | -1253.5547 | -1110.0974 | 360.2039 | 154.35 | 295.112 | 11.6087
[8 empty] | 15 | -4116.6845 | -2722.2625 | -3302.6997 | -3041.1823 | -2814.252 | -2793.9744 | -1608.5547 | -1483.3105 | -1339.8532 | 130.448 | -75.4059 | 65.3562 | -218.1471 | -229.7558

## Table 9.9
78 Year
Plan Number | Plans | All Gas | K22/Gas | K19/Gas24/250MW (MP Sale) | K19/Gas25/750MW (MP Sale, WPS Sale & Inv) | K19/Gas31/750 MW (MP Sale) | K19/Gas31/750MW | SCGT/C26 | K19/C31/250MW (MP Sale) | K19/C31/750MW (MP Sale) | K19/C25/250MW (MP Sale) | K19/C25/750MW (MP Sale)
1 | All Gas
2 | K22/Gas | (2-1)
887.0223
3 | K19/Gas24/250MW (MP Sale) | (3-1) | (3-2)
|  | -775.2632 | -1662.2854
4 | K19/Gas25/750MW (MP Sale, WPS Sale & Inv) | (4-1) | (4-2) | (4-3)
|  | 1346.4896 | 459.4674 | 2121.7528
5 | K19/Gas31/750 MW (MP Sale) | (5-1) | (5-2) | (5-3) | (5-4)
|  | 1096.5847 | 209.5625 | 1871.8479 | -249.9049
6 | K19/Gas31/750MW | (6-1) | (6-2) | (6-3) | (6-4) | (6-5)
|  | 1090.8433 | 203.8211 | 1866.1065 | -255.6463 | -5.7414
7 | SCGT/C26 | (7-1) | (7-2) | (7-3) | (7-4) | (7-5) | (7-6)
|  | 738.254 | -148.7682 | 1513.5172 | -608.2356 | -358.3307 | -352.5893
11 | K19/C31/250MW (MP Sale) | (11-1) | (11-2) | (11-3) | (11-4) | (11-5) | (11-6) | (11-7)
|  | 1215.1073 | 328.0851 | 1990.3705 | -131.3823 | 118.5226 | 124.264 | 476.8533
12 | K19/C31/750MW (MP Sale) | (12-1) | (12-2) | (12-3) | (12-4) | (12-5) | (12-6) | (12-7) | (12-11)
|  | 1360.1076 | 473.0853 | 2135.3707 | 13.618 | 263.5229 | 269.2643 | 621.8535 | 145.0002
13 | K19/C25/250MW (MP Sale) | (13-1) | (13-2) | (13-3) | (13-4) | (13-5) | (13-6) | (13-7) | (13-11) | (13-12)
|  | 1294.5302 | 407.5079 | 2069.7933 | -51.9594 | 197.9455 | 203.6869 | 556.2761 | 79.4228 | -65.5774
14 | K19/C25/750MW (MP Sale, WPS Sale & Inv) | (14-1) | (14-2) | (14-3) | (14-4) | (14-5) | (14-6) | (14-7) | (14-11) | (14-12) | (14-13)
|  | 1696.0134 | 808.9911 | 2471.2765 | 349.5237 | 599.4286 | 605.17 | 957.7593 | 480.906 | 335.9058 | 401.4832
15 | K19/C25/750MW (MP Sale) | (15-1) | (15-2) | (15-3) | (15-4) | (15-5) | (15-6) | (15-7) | (15-11) | (15-12) | (15-13) | (15-14)
|  | 1426.6184 | 539.5962 | 2201.8816 | 80.1288 | 330.0337 | 335.7751 | 688.3644 | 211.5111 | 66.5109 | 132.0882 | -269.3949
50 Year
Plan Number | Plans | All Gas | K22/Gas | K19/Gas24/250MW (MP Sale) | K19/Gas25/750MW (MP Sale, WPS Sale & Inv) | K19/Gas31/750 MW (MP Sale) | K19/Gas31/750MW | SCGT/C26 | K19/C31/250MW (MP Sale) | K19/C31/750MW (MP Sale) | K19/C25/250MW (MP Sale) | K19/C25/750MW (MP Sale)
1 | All Gas
2 | K22/Gas | (15-1): (2-1)
477.4416
3 | K19/Gas24/250MW (MP Sale) | (15-1): (3-1); (15-2): (3-2)
|  | -844.801 | -1322.2425
4 | K19/Gas25/750MW (MP Sale, WPS Sale & Inv) | (15-1): (4-1); (15-2): (4-2); (15-3): (4-3)
|  | 916.8109 | 439.3693 | 1761.6118
5 | K19/Gas31/750 MW (MP Sale) | (15-1): (5-1); (15-2): (5-2); (15-3): (5-3); (15-4): (5-4)
|  | 694.3052 | 216.8637 | 1539.1062 | -222.5056
6 | K19/Gas31/750MW | (15-1): (6-1); (15-2): (6-2); (15-3): (6-3); (15-4): (6-4); (15-5): (6-5)
|  | 657.1982 | 179.7566 | 1501.9992 | -259.6127 | -37.107
7 | SCGT/C26 | (7-1) | (7-2) | (7-3) | (7-4) | (7-5) | (7-6)
|  | 178.0825 | -299.3591 | 1022.8834 | -738.7284 | -516.2228 | -479.1157
11 | K19/C31/250MW (MP Sale) | (11-1) | (11-2) | (11-3) | (11-4) | (11-5) | (11-6) | (11-7)
|  | 263.6887 | -213.7529 | 1108.4897 | -653.1222 | -430.6165 | -393.5095 | 85.6062
12 | K19/C31/750MW (MP Sale) | (12-1) | (12-2) | (12-3) | (12-4) | (12-5) | (12-6) | (12-7) | (12-11)
|  | 365.3943 | -112.0472 | 1210.1953 | -551.4165 | -328.9109 | -291.8039 | 187.3119 | 101.7056
13 | K19/C25/250MW (MP Sale) | (13-1) | (13-2) | (13-3) | (13-4) | (13-5) | (13-6) | (13-7) | (13-11) | (13-12)
|  | 374.4776 | -102.964 | 1219.2785 | -542.3333 | -319.8277 | -282.7206 | 196.3951 | 110.7889 | 9.0832
14 | K19/C25/750MW (MP Sale, WPS Sale & Inv) | (14-1) | (14-2) | (14-3) | (14-4) | (14-5) | (14-6) | (14-7) | (14-11) | (14-12) | (14-13)
|  | 713.6088 | 236.1673 | 1558.4098 | -203.202 | 19.3036 | 56.4106 | 535.5264 | 449.9201 | 348.2145 | 339.1313
15 | K19/C25/750MW (MP Sale) | (15-1) | (15-2) | (15-3) | (15-4) | (15-5) | (15-6) | (15-7) | (15-11) | (15-12) | (15-13) | (15-14)
|  | 445.2208 | -32.2208 | 1290.0217 | -471.5901 | -249.0845 | -211.9774 | 267.1383 | 181.5321 | 79.8264 | 70.7432 | -268.3881
35 Year
Plan Number | Plans | All Gas | K22/Gas | K19/Gas24/250MW (MP Sale) | K19/Gas25/750MW (MP Sale, WPS Sale & Inv) | K19/Gas31/750 MW (MP Sale) | K19/Gas31/750MW | SCGT/C26 | K19/C31/250MW (MP Sale) | K19/C31/750MW (MP Sale) | K19/C25/250MW (MP Sale) | K19/C25/750MW (MP Sale)
1 | All Gas
2 | K22/Gas | (15-1): (2-1)
-190.9327
3 | K22/Gas | (15-1): (3-1); (15-2): (3-2)
|  | -908.4186 | -717.4859
4 | K19/Gas25/750MW (MP Sale, WPS Sale & Inv) | (15-1): (4-1); (15-2): (4-2); (15-3): (4-3)
|  | 254.291 | 445.2237 | 1162.7096
5 | K19/Gas31/750 MW (MP Sale) | (15-1): (5-1); (15-2): (5-2); (15-3): (5-3); (15-4): (5-4)
|  | 161.0833 | 352.016 | 1069.5019 | -93.2076
6 | K19/Gas31/750MW | (15-1): (6-1); (15-2): (6-2); (15-3): (6-3); (15-4): (6-4); (15-5): (6-5)
|  | -20.5325 | 170.4002 | 887.8861 | -274.8235 | -181.6158
7 | SCGT/C26 | (7-1) | (7-2) | (7-3) | (7-4) | (7-5) | (7-6)
|  | -686.132 | -495.1993 | 222.2866 | -940.423 | -847.2154 | -665.5995
11 | K19/C31/250MW (MP Sale) | (11-1) | (11-2) | (11-3) | (11-4) | (11-5) | (11-6) | (11-7)
|  | -1087.0149 | -896.0822 | -178.5963 | -1341.3058 | -1248.0982 | -1066.4824 | -400.8828
12 | K19/C31/750MW (MP Sale) | (12-1) | (12-2) | (12-3) | (12-4) | (12-5) | (12-6) | (12-7) | (12-11)
|  | -1118.6719 | -927.7392 | -210.2533 | -1372.9629 | -1279.7552 | -1098.1394 | -432.5399 | -31.657
13 | K19/C25/250MW (MP Sale) | (13-1) | (13-2) | (13-3) | (13-4) | (13-5) | (13-6) | (13-7) | (13-11) | (13-12)
|  | -1019.3483 | -828.4155 | -110.9296 | -1273.6392 | -1180.4316 | -998.8157 | -333.2162 | 67.6666 | 99.3237
14 | K19/C25/750MW (MP Sale, WPS Sale & Inv) | (14-1) | (14-2) | (14-3) | (14-4) | (14-5) | (14-6) | (14-7) | (14-11) | (14-12) | (14-13)
|  | -766.2642 | -575.3315 | 142.1544 | -1020.5551 | -927.3475 | -745.7317 | -80.1321 | 320.7507 | 352.4077 | 253.0841
15 | K19/C25/750MW (MP Sale) | (15-1) | (15-2) | (15-3) | (15-4) | (15-5) | (15-6) | (15-7) | (15-11) | (15-12) | (15-13) | (15-14)
|  | -1031.7619 | -840.8292 | -123.3433 | -1286.0529 | -1192.8453 | -1011.2294 | -345.6299 | 55.2529 | 86.91 | 3292.0123 | -265.4978
20 Year
Plan Number | Plans | All Gas | K22/Gas | K19/Gas24/250MW (MP Sale) | K19/Gas25/750MW (MP Sale, WPS Sale & Inv) | K19/Gas31/750 MW (MP Sale) | K19/Gas31/750MW | SCGT/C26 | K19/C31/250MW (MP Sale) | K19/C31/750MW (MP Sale) | K19/C25/250MW (MP Sale) | K19/C25/750MW (MP Sale)
1 | All Gas
2 | K22/Gas | (15-1): (2-1)
-1394.422
3 | K19/Gas24/250MW (MP Sale) | (15-1): (3-1); (15-2): (3-2)
|  | -813.9849 | 580.4371
4 | K19/Gas25/750MW (MP Sale, WPS Sale & Inv) | (15-1): (4-1); (15-2): (4-2); (15-3): (4-3)
|  | -1075.5023 | 318.9197 | -261.5174
5 | K19/Gas31/750 MW (MP Sale) | (15-1): (5-1); (15-2): (5-2); (15-3): (5-3); (15-4): (5-4)
|  | -1302.4325 | 91.9895 | -488.4476 | -226.9302
6 | K19/Gas31/750MW | (15-1): (6-1); (15-2): (6-2); (15-3): (6-3); (15-4): (6-4); (15-5): (6-5)
|  | -1322.7102 | 71.7119 | -508.7253 | -247.2079 | -20.2777
7 | SCGT/C26 | (7-1) | (7-2) | (7-3) | (7-4) | (7-5) | (7-6)
|  | -2508.1298 | -1113.7078 | -1694.145 | -1432.6276 | -1205.6973 | -1185.4197
11 | K19/C31/250MW (MP Sale) | (11-1) | (11-2) | (11-3) | (11-4) | (11-5) | (11-6) | (11-7)
|  | -4041.2787 | -2646.8567 | -3227.2938 | -2965.7764 | -2738.8462 | -2718.5685 | -1533.1488
12 | K19/C31/750MW (MP Sale) | (12-1) | (12-2) | (12-3) | (12-4) | (12-5) | (12-6) | (12-7) | (12-11)
|  | -4182.0408 | -2787.6187 | -3368.0559 | -3106.5385 | -2879.6082 | -2859.3306 | -1673.9109 | -140.7621
13 | K19/C25/250MW (MP Sale) | (13-1) | (13-2) | (13-3) | (13-4) | (13-5) | (13-6) | (13-7) | (13-11) | (13-12)
|  | -3898.5374 | -2504.1154 | -3084.5526 | -2823.0352 | -2596.1049 | -2575.8273 | -1390.4076 | 142.7412 | 283.5033
14 | K19/C25/750MW (MP Sale, WPS Sale & Inv) | (14-1) | (14-2) | (14-3) | (14-4) | (14-5) | (14-6) | (14-7) | (14-11) | (14-12) | (14-13)
|  | -3886.9287 | -2492.5067 | -3072.9438 | -2811.4264 | -2584.4962 | -2564.2185 | -1378.7989 | 154.35 | 295.112 | 11.6087
15 | K19/C25/750MW (MP Sale) | (15-1) | (15-2) | (15-3) | (15-4) | (15-5) | (15-6) | (15-7) | (15-11) | (15-12) | (15-13) | (15-14)
|  | -4116.6845 | -2722.2625 | -3302.6997 | -3041.1823 | -2814.252 | -2793.9744 | -1608.5547 | -75.4059 | 65.3562 | -218.1471 | -229.7558

## Break-Even Years
Plans | Break Even Year (All Gas) Base Case | 78 NPV | 50 NPV | 35 NPV | 20 NPV | 78 Year IRR
2 K22/Gas | 2051 | 887.0223 | 477.4416 | -190.9327 | -1394.422
3 Wind/Gas | N/A | -775.2632 | -844.801 | -908.4186 | -813.9849
4 K19/Gas24/250MW | 2043 | 1346.4896 | 916.8109 | 254.291 | -1075.5023
5 K19/Gas25/750MW (WPS) | 2044 | 1096.5847 | 694.3052 | 161.0833 | -1302.4325
6 K19/Gas31/750MW | 2048 | 1090.8433 | 657.1982 | -20.5325 | -1322.7102
7 SCGT/C26 | 2059 | 738.254 | 178.0825 | -686.132 | -2508.1298
8 CCGT/C26 | 2059 | 783.6164 | 174.2312 | -716.4123 | -2633.374
9 Wind/C26 | 2064 | 530.8526 | -62.0831 | -1031.4906 | -2776.8314
10 K22/C29 | 2064 | 805.9195 | -111.6034 | -1501.4176 | -4247.1326
11 K19/C31/250MW | 2059 | 1215.1073 | 263.6887 | -1087.0149 | -4041.2787
12 K19/C31/750MW | 2058 | 1360.1076 | 365.3943 | -1118.6719 | -4182.0408
13 K19/C25/250MW | 2058 | 1294.5302 | 374.4776 | -1019.3483 | -3898.5374
14 K19/C25/750 (WPS) | 2054 | 1696.0134 | 713.6088 | -766.2642 | -3886.9287
15 K19/C25/750MW | 2057 | 1426.6184 | 445.2208 | -1031.7619 | -4116.6845

## Table 9.7
78 Year | [6 empty] | 78 Year
Plan Number | Plans | All Gas | K19/Gas25/750MW (WPS) | K19/Gas31/750MW | K19/C31/750MW | K19/C25/750 (WPS) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | All Gas | - |  |  |  |  | 1
[7 empty] | 2 | 1: 887.0223
5 | K19/Gas25/750MW (WPS) | (5-1) |  |  |  |  | 3 | 1: -775.2632; 2: -1662.2854
|  | 1096.5847 |  |  |  |  | 4 | 1: 1346.4896; 2: 459.4674; 3: 2121.7528
6 | K19/Gas31/750MW | (6-1) | (6-5) |  |  |  | 5 | 1: 1096.5847; 2: 209.5625; 3: 1871.8479; 4: -249.9049
|  | 1090.8433 | -5.7414 |  |  |  | 6 | 1: 1090.8433; 2: 203.8211; 3: 1866.1065; 4: -255.6463; 5: -5.7414
12 | K19/C31/750MW | (12-1) | (12-5) | (12-6) |  |  | 7 | 1: 738.254; 2: -148.7682; 3: 1513.5172; 4: -608.2356; 5: -358.3307; 6: -352.5893
|  | 1360.1076 | 263.5229 | 269.2643 |  |  | 8 | 1: 783.6164; 2: -103.4059; 3: 1558.8795; 4: -562.8732; 5: -312.9683; 6: -307.2269; 7: 45.3623
14 | K19/C25/750 (WPS) | (14-1) | (14-5) | (14-6) | (14-12) |  | 9 | 1: 530.8526; 2: -356.1697; 3: 1306.1157; 4: -815.6371; 5: -565.7322; 6: -559.9907; 7: -207.4015; 8: -252.7638
|  | 1696.0134 | 599.4286 | 605.17 | 335.9058 |  | 10 | 805.9195 | -81.1027 | 1581.1827 | -540.5701 | -290.6652 | -284.9238 | 67.6655 | 22.3031 | 275.067
15 | K19/C25/750MW | (15-1) | (15-5) | (15-6) | (15-12) | (15-14) | 11 | 1215.1073 | 328.0851 | 1990.3705 | -131.3823 | 118.5226 | 124.264 | 476.8533 | 431.491 | 684.2548 | 409.1878
|  | 1426.6184 | 330.0337 | 335.7751 | 66.5109 | -269.3949 | 12 | 1360.1076 | 473.0853 | 2135.3707 | 13.618 | 263.5229 | 269.2643 | 621.8535 | 576.4912 | 829.255 | 554.188 | 145.0002
[7 empty] | 13 | 1294.5302 | 407.5079 | 2069.7933 | -51.9594 | 197.9455 | 203.6869 | 556.2761 | 510.9138 | 763.6776 | 488.6107 | 79.4228 | -65.5774
[7 empty] | 14 | 1696.0134 | 808.9911 | 2471.2765 | 349.5237 | 599.4286 | 605.17 | 957.7593 | 912.397 | 1165.1608 | 890.0938 | 480.906 | 335.9058 | 401.4832
50 Year | [6 empty] | 15 | 1426.6184 | 539.5962 | 2201.8816 | 80.1288 | 330.0337 | 335.7751 | 688.3644 | 643.0021 | 895.7659 | 620.6989 | 211.5111 | 66.5109 | 132.0882 | -269.3949
Plan Number | Plans | All Gas | K19/Gas25/750MW (WPS) | K19/Gas31/750MW | K19/C31/750MW | K19/C25/750 (WPS)
1 | All Gas | - |  |  |  |  | 50 Year
[8 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
5 | K19/Gas25/750MW (WPS) | (5-1) |  |  |  |  | 1
|  | 694.3052 |  |  |  |  | 2 | 1: 477.4416
6 | K19/Gas31/750MW | (6-1) | (6-5) |  |  |  | 3 | 1: -844.801; 2: -1322.2425
|  | 657.1982 | -37.107 |  |  |  | 4 | 1: 916.8109; 2: 439.3693; 3: 1761.6118
12 | K19/C31/750MW | (12-1) | (12-5) | (12-6) |  |  | 5 | 1: 694.3052; 2: 216.8637; 3: 1539.1062; 4: -222.5056
|  | 365.3943 | -328.9109 | -291.8039 |  |  | 6 | 1: 657.1982; 2: 179.7566; 3: 1501.9992; 4: -259.6127; 5: -37.107
14 | K19/C25/750 (WPS) | (14-1) | (14-5) | (14-6) | (14-12) |  | 7 | 1: 178.0825; 2: -299.3591; 3: 1022.8834; 4: -738.7284; 5: -516.2228; 6: -479.1157
|  | 713.6088 | 19.3036 | 56.4106 | 348.2145 |  | 8 | 1: 174.2312; 2: -303.2104; 3: 1019.0322; 4: -742.5797; 5: -520.074; 6: -482.967; 7: -3.8513
15 | K19/C25/750MW | (15-1) | (15-5) | (15-6) | (15-12) | (15-14) | 9 | 1: -62.0831; 2: -539.5246; 3: 782.7179; 4: -978.8939; 5: -756.3883; 6: -719.2813; 7: -240.1655; 8: -236.3143
|  | 445.2208 | -249.0845 | -211.9774 | 79.8264 | -269.3949 | 10 | -111.6034 | -589.045 | 733.1975 | -1028.4143 | -805.9087 | -768.8016 | -289.6859 | -285.8346 | -49.5204
[7 empty] | 11 | 263.6887 | -213.7529 | 1108.4897 | -653.1222 | -430.6165 | -393.5095 | 85.6062 | 89.4575 | 325.7718 | 375.2921
[7 empty] | 12 | 365.3943 | -112.0472 | 1210.1953 | -551.4165 | -328.9109 | -291.8039 | 187.3119 | 191.1631 | 427.4774 | 476.9978 | 101.7056
35 Year | [6 empty] | 13 | 374.4776 | -102.964 | 1219.2785 | -542.3333 | -319.8277 | -282.7206 | 196.3951 | 200.2464 | 436.5607 | 486.081 | 110.7889 | 9.0832
Plan Number | Plans | All Gas | K19/Gas25/750MW (WPS) | K19/Gas31/750MW | K19/C31/750MW | K19/C25/750 (WPS) | 14 | 713.6088 | 236.1673 | 1558.4098 | -203.202 | 19.3036 | 56.4106 | 535.5264 | 539.3776 | 775.6919 | 825.2123 | 449.9201 | 348.2145 | 339.1313
1 | All Gas | - |  |  |  |  | 15 | 445.2208 | -32.2208 | 1290.0217 | -471.5901 | -249.0845 | -211.9774 | 267.1383 | 270.9896 | 507.3039 | 556.8242 | 181.5321 | 79.8264 | 70.7432 | -268.3881
5 | K19/Gas25/750MW (WPS) | (5-1) |  |  |  |  | 35 Year
|  | 161.0833 | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
6 | K19/Gas31/750MW | (6-1) | (6-5) |  |  |  | 1
|  | -20.5325 | -181.6158 |  |  |  | 2 | 1: -190.9327
12 | K19/C31/750MW | (12-1) | (12-5) | (12-6) |  |  | 3 | 1: -908.4186; 2: -717.4859
|  | -1118.6719 | -1279.7552 | -1098.1394 |  |  | 4 | 1: 254.291; 2: 445.2237; 3: 1162.7096
14 | K19/C25/750 (WPS) | (14-1) | (14-5) | (14-6) | (14-12) |  | 5 | 1: 161.0833; 2: 352.016; 3: 1069.5019; 4: -93.2076
|  | -766.2642 | -927.3475 | -745.7317 | 352.4077 |  | 6 | 1: -20.5325; 2: 170.4002; 3: 887.8861; 4: -274.8235; 5: -181.6158
15 | K19/C25/750MW | (15-1) | (15-5) | (15-6) | (15-12) | (15-14) | 7 | 1: -686.132; 2: -495.1993; 3: 222.2866; 4: -940.423; 5: -847.2154; 6: -665.5995
|  | -1031.7619 | -1192.8453 | -1011.2294 | 86.91 | -265.4978 | 8 | 1: -716.4123; 2: -525.4796; 3: 192.0063; 4: -970.7032; 5: -877.4956; 6: -695.8797; 7: -30.2802
[7 empty] | 9 | 1: -1031.4906; 2: -840.5579; 3: -123.072; 4: -1285.7816; 5: -1192.574; 6: -1010.9581; 7: -345.3586; 8: -315.0784
[7 empty] | 10 | -1501.4176 | -1310.4849 | -592.999 | -1755.7086 | -1662.501 | -1480.8851 | -815.2856 | -785.0054 | -469.927
20 Year | [6 empty] | 11 | -1087.0149 | -896.0822 | -178.5963 | -1341.3058 | -1248.0982 | -1066.4824 | -400.8828 | -370.6026 | -55.5242 | 414.4028
Plan Number | Plans | All Gas | K19/Gas25/750MW (WPS) | K19/Gas31/750MW | K19/C31/750MW | K19/C25/750 (WPS) | 12 | -1118.6719 | -927.7392 | -210.2533 | -1372.9629 | -1279.7552 | -1098.1394 | -432.5399 | -402.2596 | -87.1813 | 382.7457 | -31.657
1 | All Gas | - |  |  |  |  | 13 | -1019.3483 | -828.4155 | -110.9296 | -1273.6392 | -1180.4316 | -998.8157 | -333.2162 | -302.936 | 12.1424 | 482.0694 | 67.6666 | 99.3237
[7 empty] | 14 | -766.2642 | -575.3315 | 142.1544 | -1020.5551 | -927.3475 | -745.7317 | -80.1321 | -49.8519 | 265.2265 | 735.1535 | 320.7507 | 352.4077 | 253.0841
5 | K19/Gas25/750MW (WPS) | (5-1) |  |  |  |  | 15 | -1031.7619 | -840.8292 | -123.3433 | -1286.0529 | -1192.8453 | -1011.2294 | -345.6299 | -315.3497 | -0.27129 | 469.6557 | 55.2529 | 86.91 | 3292.0123 | -265.4978
-1302.4325
6 | K19/Gas31/750MW | (6-1) | (6-5)
|  | -1322.7102 | -20.2777 |  |  |  | 20 Year
12 | K19/C31/750MW | (12-1) | (12-5) | (12-6) |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
|  | -4182.0408 | -2879.6082 | -2859.3306 |  |  | 1
14 | K19/C25/750 (WPS) | (14-1) | (14-5) | (14-6) | (14-12) |  | 2 | 1: -1394.422
|  | -3886.9287 | -2584.4962 | -2564.2185 | 295.112 |  | 3 | 1: -813.9849; 2: 580.4371
15 | K19/C25/750MW | (15-1) | (15-5) | (15-6) | (15-12) | (15-14) | 4 | 1: -1075.5023; 2: 318.9197; 3: -261.5174
|  | -4116.6845 | -2814.252 | -2793.9744 | 65.3562 | -229.7558 | 5 | 1: -1302.4325; 2: 91.9895; 3: -488.4476; 4: -226.9302
[7 empty] | 6 | 1: -1322.7102; 2: 71.7119; 3: -508.7253; 4: -247.2079; 5: -20.2777
[7 empty] | 7 | 1: -2508.1298; 2: -1113.7078; 3: -1694.145; 4: -1432.6276; 5: -1205.6973; 6: -1185.4197
[7 empty] | 8 | 1: -2633.374; 2: -1238.952; 3: -1819.3891; 4: -1557.8717; 5: -1330.9415; 6: -1310.6638; 7: -125.2442
[7 empty] | 9 | 1: -2776.8314; 2: -1382.4093; 3: -1962.8465; 4: -1701.3291; 5: -1474.3989; 6: -1454.1212; 7: -268.7015; 8: -143.4574
[7 empty] | 10 | -4247.1326 | -2852.7106 | -3433.1477 | -3171.6303 | -2944.7001 | -2924.4224 | -1739.0027 | -1613.7586 | -1470.3012
[7 empty] | 11 | -4041.2787 | -2646.8567 | -3227.2938 | -2965.7764 | -2738.8462 | -2718.5685 | -1533.1488 | -1407.9047 | -1264.4473 | 205.8539
[7 empty] | 12 | -4182.0408 | -2787.6187 | -3368.0559 | -3106.5385 | -2879.6082 | -2859.3306 | -1673.9109 | -1548.6667 | -1405.2094 | 65.0918 | -140.7621
[7 empty] | 13 | -3898.5374 | -2504.1154 | -3084.5526 | -2823.0352 | -2596.1049 | -2575.8273 | -1390.4076 | -1265.1634 | -1121.7061 | 348.5951 | 142.7412 | 283.5033
[7 empty] | 14 | -3886.9287 | -2492.5067 | -3072.9438 | -2811.4264 | -2584.4962 | -2564.2185 | -1378.7989 | -1253.5547 | -1110.0974 | 360.2039 | 154.35 | 295.112 | 11.6087
[7 empty] | 15 | -4116.6845 | -2722.2625 | -3302.6997 | -3041.1823 | -2814.252 | -2793.9744 | -1608.5547 | -1483.3105 | -1339.8532 | 130.448 | -75.4059 | 65.3562 | -218.1471 | -229.7558

## Master 9.7 Table
78 Year
Plan Number | Plans | All Gas | K19/Gas25/750MW (WPS) | K19/Gas31/750MW | K19/C31/750MW | K19/C25/750 (WPS)
1 | All Gas | -
5 | K19/Gas25/750MW (WPS) | (5-1)
78 |  | 1096.5847
50 |  | 694.3052
35 |  | 161.0833
20 | [6 empty] | 694.3052
6 | K19/Gas31/750MW | (6-1) | (6-5) |  |  |  | (6-1) | (6-5)
78 |  | 1090.8433 | -5.7414 |  |  |  | 657.1982 | -37.107
50 |  | 657.1982 | -37.107 |  |  |  | (12-1) | (12-5) | (12-6)
35 |  | -20.5325 | -181.6158 |  |  |  | 365.3943 | -328.9109 | -291.8039
20 | [6 empty] | (14-1) | (14-5) | (14-6) | (14-12)
12 | K19/C31/750MW | (12-1) | (12-5) | (12-6) |  |  | 713.6088 | 19.3036 | 56.4106 | 348.2145
78 |  | 1360.1076 | 263.5229 | 269.2643 |  |  | (15-1) | (15-5) | (15-6) | (15-12) | (15-14)
50 |  | 365.3943 | -328.9109 | -291.8039 |  |  | 445.2208 | -249.0845 | -211.9774 | 79.8264 | -269.3949
35 |  | -1118.6719 | -1279.7552 | -1098.1394
20
14 | K19/C25/750 (WPS) | (14-1) | (14-5) | (14-6) | (14-12)
78 |  | 1696.0134 | 599.4286 | 605.17 | 335.9058 |  | 161.0833
50 |  | 713.6088 | 19.3036 | 56.4106 | 348.2145 |  | (6-1) | (6-5)
35 |  | -766.2642 | -927.3475 | -745.7317 | 352.4077 |  | -20.5325 | -181.6158
20 | [6 empty] | (12-1) | (12-5) | (12-6)
15 | K19/C25/750MW | (15-1) | (15-5) | (15-6) | (15-12) | (15-14) | -1118.6719 | -1279.7552 | -1098.1394
|  | 1426.6184 | 330.0337 | 335.7751 | 66.5109 | -269.3949 | (14-1) | (14-5) | (14-6) | (14-12)
|  | 445.2208 | -249.0845 | -211.9774 | 79.8264 | -269.3949 | -766.2642 | -927.3475 | -745.7317 | 352.4077
|  | -1031.7619 | -1192.8453 | -1011.2294 | 86.91 | -265.4978 | (15-1) | (15-5) | (15-6) | (15-12) | (15-14)
[7 empty] | -1031.7619 | -1192.8453 | -1011.2294 | 86.91 | -265.4978
-1302.4325
[7 empty] | (6-1) | (6-5)
[7 empty] | -1322.7102 | -20.2777
[7 empty] | (12-1) | (12-5) | (12-6)
[7 empty] | -4182.0408 | -2879.6082 | -2859.3306
[7 empty] | (14-1) | (14-5) | (14-6) | (14-12)
[7 empty] | -3886.9287 | -2584.4962 | -2564.2185 | 295.112
[7 empty] | (15-1) | (15-5) | (15-6) | (15-12) | (15-14)
[7 empty] | -4116.6845 | -2814.252 | -2793.9744 | 65.3562 | -229.7558